## Slide 1: Problems setting-up the ALBA FOFB
DEELS14
12-13May - ESRF
Angel Olmos

## Slide 2
ALBA FOFB Overview
Latest Results
Problems of Data Transfer on cPCI
Setting the PI loop
(No) Correction of Kickers signal
Summary
Current Problems
OUTLINE

## Slide 3
We aim to achieve orbit stability on the sub-micron level up to frequencies in the 100 Hz range
“Recycled” timing boards used as position reading nodes (sniffers)
This is a first stage “low-cost” system to learn about beam stabilization and better define the future system
88 BPMs out of the 120 available will be used on FOFB
88 Horizontal / 88 Vertical corrector magnets
Libera Brilliance running Diamond Communication Controller protocol for data transfer
Distributed correction calculation on 16 dedicated CPUs
No Slow Orbit Feedback
RF frequency control by standalone process
ALBA FOFB Overview
Not only Desy recycles

## Slide 4
cPCI crate
IP modules
Libera
Libera
Libera
Libera
Libera
Libera
Libera
Libera
Next
sector
Previous
sector
PMC board
(sniffer)
CPU
Tx Board
Corrector PS
Tx Board
Corrector PS
Corrector PS
…
Corrector PS
ALBA FOFB Overview
Main equipments interconnection
One sector out of 16

## Slide 5
eBPM electronics
ALBA FOFB Overview
Libera Brilliance - software Release 2.09
Diamond Communication Controller to handle the position data transfer between units
Optical links from 2 Liberas on each sector are laid to a central patch panel
Routing of each link can be done from-to any sector
A ring-type topology is used for the time being
Only one optical link is used to send BPMs data to the PMC FPGA board

## Slide 6
PMC FPGA boards
ALBA FOFB Overview
Decision to re-use some Micro-Research EVR-230 boards that we had in-house
These boards were meant for timing purposes on Beamlines but never installed
Xilinx Virtex-II FPGA is an already obsolete device
Do only have one single optical link for position data transfer
No redundancy and so low FOFB reliability
The boards are already known by ALBA controls staff
Overall cost reduction of the FOFB becomes significant
Integration of CC has been done by Diamond

## Slide 7
Correction Calculation CPU
ALBA FOFB Overview
Adlink 4-Cores cPCI-3970 CPU running soft real time Linux 2.6.27
Retrieves the position data from the PMC FPGA board and performs the calculation of the needed correction setpoints
Adlink single, dual and 4-Cores cPCI CPUs have been analyzed
Also different Kernel and Linux OS versions were tested because the handling of the interruptions forced CPU dead-times
Processes distributed to different Cores (Read BPM, Calculation, CPU-cPCI stuff)

## Slide 8
Power
converter
I/V
transducer
ADC
PSI
Controller
Tx
Board
IP
modules
Carrier
cPCI Bus
RS232
service port
Electrical to
Optical
Optical protocol
management
Diamond
Correction
Calculation
CPU
Optical
Controls rack
Correctors PCs rack
Power Converters
ALBA FOFB Overview
Provided by OCEM company (was in bankrupt but I heard they’re back)
Provide ±1mrad of DC deflection and ±40µrad @ 100Hz
1kHz Bandwidth / 18 bits Resolution

## Slide 9
fH=235 Hz
fV=1550 Hz
Horizontal Steering
Vertical Steering
Correctors Magnets
ALBA FOFB Overview
ALBA sextupoles have extra wiring to provide H/V beam steering
Eddy currents on the vacuum chamber reduce the effect of the magnetic field at high frequencies
To have a more effective penetration field chamber thickness reduction to 2mm in the correctors

## Slide 10
Integration of xBPM
Control of RF frequency
No Slow Orbit Feedback
ALBA FOFB Overview
Integration of the photon monitor (xBPM) of MISTRAL beamline is already implemented in the SOFB
Libera Photon + Communication Controller to be used
External process that will monitor dispersive pattern on correctors and change RF frequency
No possibility to set correctors AC and DC by FOFB
Handling of Interruptions / ACK does not allow FOFB to readback the correctors setting. FOFB just assumes that setpoint is OK

## Slide 11
First Results (before Easter shutdown)
FOFB ON
(ID closing)
FOFB OFF
(ID stopped)
FOFB OFF
(ID opening)
2um
5um
50sec
HORIZONTAL 88 BPMs
VERTICAL 88 BPMs

## Slide 12
IDs SOURCEPOINT HORIZONTAL POSITION
IDs SOURCEPOINT VERTICAL POSITION
Frequency
100Hz
1kHz
1Hz
Frequency
100Hz
1kHz
1Hz
10% Beamsize
10% Beamsize
1um
1nm
100nm
1um
1nm
100nm
First Results (before Easter shutdown)

## Slide 13
XALOC HORIZONTAL ANGLE
XALOC VERTICAL ANGLE
10% Beam Divergence
10% Beam Divergence
Frequency
100Hz
1kHz
1Hz
Frequency
100Hz
1kHz
1Hz
1urad
1nrad
1urad
1nrad
First Results (before Easter shutdown)

## Slide 14
Problems of Data Transfer on cPCI
And we can also have problems due to CPU interruptions …
cPCI crate
PMC board
(sniffer)
CPU
2 cPCI Bridges
Brust Mode should ideally allow BPMs reading within 20us
But brust is stopped after 2 cycles and restarted again
Like that, reading 88 BPMs takes >100us
It can only be warratied reading at 5kHz
When reading 88 BPMs  1 cycle lost every 2,4 or 8 seconds
15h tests  0.007% correction cycles lost
If reading 104 BPMs  0,009%
If reading 120 BPMs  0,32%

## Slide 15
Setting the PI loop
Kp
Ki/s
+
E(s)
U(s)
U(n) = U(n-1) + A0 * E(n) + A1 * E(n-1)
A0 = (Ki * Ts /2) + Kp
A1 = (Ki * Ts /2) - Kp
Ts = 1/5kHz
No previous experience setting PI loops
It has been done experimentally
Best results found for Kp =0, Ki=1000
Trim Coil that introduces noise at predefined frequencies

## Slide 16
(No) Correction of Kickers signal
FOFB OFF
Kickers OFF

## Slide 17
(No) Correction of Kickers signal
FOFB ON
Kickers OFF

## Slide 18
(No) Correction of Kickers signal
FOFB ON
Kickers ON
3Hz injection rate

## Slide 19
(No) Correction of Kickers signal
Kickers Pulse
FOFB effect
FOFB ON
Kickers ON

## Slide 20
(No) Correction of Kickers signal
10% H-Beamsize
HORIZONTAL
Frequency
100Hz
1kHz
1Hz
1um
100nm
10nm

## Slide 21
(No) Correction of Kickers signal
10% V-Beamsize
VERTICAL
Frequency
100Hz
1kHz
1Hz
1um
100nm
10nm

## Slide 22
Summary
Limitation to 5kHz BPMs data due to cPCI architecture
Spurious CPU interruptions
Don’t really know how to proceed setting the PI loop
Effect of Kicker pulses
50Hz signal
1st try was to discard position values higher than some levels  No success
Dedicated filtering of 50Hz on FOFB is enough?
Did anyone try to reduce it by external means?
We believe
we’ve to live with that
Any comment / suggestion / critic is really welcomed
Integration of xBPM in the loop (possible problems?)
No Slow Orbit Feedback. RF control by standalone process